## Slide 1
BRAIN COMPUTER
INTERFACES
Line Pouvaret

## Slide 2: Don’t be mistaken !
BCI :
systems that measure and use signals produced by the CNS
Voice activated communication :
Muscle-activated communication :
EEG alone :
Not a BCI
Not a BCI
Not a BCI (records brain signals)

## Slide 3: What’s a BCI ?
The brain
Sends a signal
The computer acquires and analyzes the signal
Then translates it to commands
The output device executes the desired actions
Definition
Past
Signals
Components
Present
Future

## Slide 4: In the Past
Late 1960s
Early work with Monkeys
1970s :Human investigations
Kuhlman => use of EEG
Wolpaw et al : move a cursor in 1D/2D
1980 : Elbert et al
Control the vertical
movements of a rocket
traveling accross a screen
1988 : Farwell and Donchin P300
Allows to spell words on a
computer screen
By 2006 : microelectrode array implanted in a tetraplegic patient
2011 : Krusien-ski and Shih
Signals from the cortical-surface
Allows to accurately spell words
Definition
Past
Signals
Components
Present
Future

## Slide 5: A growing scientific field
This graph shows the brain-computer interface articles released in the peer-reviewed scientific literature
BCI research has become an extremely active and rapidly growing scientific field
Adapted from IEEE Trans Neural Syst Rehabil Eng
Definition
Past
Signals
Components
Present
Future

## Slide 6: Signals
In principle : any type of brain signal
Most commonly : electrical signals produced by neuronal postsynaptic membrane polarity changes
Early work : scalp EEG (Hans Berger 1929)
  safe, easy, inexpensive to acquire
  signals attenuated (through dura, skull, scalp)
Small intracortical microarrays
  better information recorded
  invasive (craniotomy + neurosurgical implantation), restricted area of recording, long-term stability ?
Definition
Past
Signals
Components
Present
Future

## Slide 7
ECoG-based BCIs : grid or strip electrodes on the cortical surface
  Records intracranially and from larger areas
  Neurosurgical implantation, long-term stability ?
So what do we choose ???
Things to consider :
  Needs of the individual BCI user
  Technological support and resources available
Definition
Past
Signals
Components
Present
Future

## Slide 8: (To resume)
Definition
Past
Signals
Components
Present
Future

## Slide 9
Also MEG : magnetic fields
  2-dimensional BCI task
fMRI, fNIR : blood oxygenation
  Correlates with neural activity
  Slow response times
These BCI : early phase of research and development
MEG, fMRI : expansive, complicated
Robotic arm with real-time fMRI-based BCI
Definition
Past
Signals
Components
Present
Future

## Slide 10: Components
4 sequential components :
  1 – Signal acquisition
  2 – Feature extraction
  3 – Feature translation
  4 – Device output
Controlled by an operating protocol
Definition
Past
Signals
Components
Present
Future

## Slide 11
IEEE Rev Biomed Eng21

## Slide 12
Signal Acquisition
  Measurement of brain signals
  Signals amplified to levels for electronic processing
  + filter to remove electrical noise
  Signal digitized and transmitted
Feature Extraction
  Analyze the digital signals
  Need to identify the user’s intent
Feature Translation
  translation algorithms
  Ex : power decrease => upward displacement of cursor
Device ouput
  Letter selection, cursor control, robotic arm, etc.
  Feedback to the user
Definition
Past
Signals
Components
Present
Future

## Slide 13: Currents BCIs
BCIs that use scalp-recorded EEG
  Non invasive EEG : most widely research program
  Sensorimotors rythms :
    1D, 2D, 3D, spelling device, assistive devices, hand orthosis, FES of limbs, robotic/prosthetic devices, wheelchair...
  Most famous : P300 speller
  Steady-state visual evoked potentials
    Binary selection, continuous/discret control of a cursor (2D), prosthetis control, FES, spelling, environment control
  Improve of motor function
Definition
Past
Signals
Components
Present
Future

## Slide 14
BCIs that use EcoG activity
  Implantation of a subdural or epidural electrode array
  Higher amplitudes, higher frequency (40-200Hz)
  Gamma activity => precision++
  Stable over 5 days (for humans), several months (studies with monkeys)
Definition
Past
Signals
Components
Present
Future

## Slide 15
BCIs that use activity recorded within the brain
  Hochberg et al : clinical trials with 96-electrode microarray implanted in the right precentral gyrus (tetraplegia)
    Control of robotic arm, computer cursor, lights, television (imagined arm movements)
    Stability++ : 1000 days after implementation
  Kennedy et al : intracortical microelectrodes in glass cones
    Implanted on a patient with locked-in syndrom (4-year trial)
Definition
Past
Signals
Components
Present
Future

## Slide 16
Macmillan Publishers Ltd.: Nature11, 2006.

## Slide 17: Status of Research
Restore speech by implanting in the speech motor area and decoding phonemes from imagined speech (with ARWB)
Need to move from laboratories to patients home !
  Tricky to be implemented : requires engineering, computer science, basic & clinical neuroscience, assistive technology, clinical rehabilitation
Headsets with scalp sensors on the market
  Signal not clear, nonbrain signals recorded : not actual BCIs
IntendiX : EEG-based BCI with P300 speller protocol
Definition
Past
Signals
Components
Present
Future

## Slide 18: The Future of BCIs
Replace or restore function (people severely disabled)
Improve rehabilitation (strokes, head trauma, etc.)
Problems in 3 critical areas :
  Signal-acquisition hardware
  BCI validation and dissemination
  Reliability
Definition
Past
Signals
Components
Present
Future

## Slide 19
Signal-Acquistion Hardware
  EEG-bases BCIs : Dry electrodes, small and fully portable, comfort, easy to set up, stability, faculty to adapt, telemetry instead of wiring, interfaces with many apps
  BCIs using implanted electrodes :
    hardware safe, fully implantable
    intact, functional and reliable for decades
    Stable signals over the years
    Telemetry, batteries
    External elements : robust, comfortable, convenient, unobtrusive
    Interfaces with high performance apps
Definition
Past
Signals
Components
Present
Future

## Slide 20
Validation and dissemination
  How good a BCI can get ?
  Which are the best ?
  Invasive BCIs > Noninvasive BCIs ?
  Noninvasive EEG or fNIR based BCIs : basic communication
  ECoG/neuron-based BCIs : complex movement control
  Validation of BCIs for rehabilitation
  Invasive BCIs : expansive => increase number of users, reduce sophistication, insurances
Definition
Past
Signals
Components
Present
Future

## Slide 21
Reliability
  As reliable as muscle-based actions
  Brain signals  spinal motor neurons
  Outputs must correspond to user’s intent
  BCI and CNS must work together => reliable partnership in all situations
  CNS behaviour : guide for designing BCIs
  Use of signals from multiple brain areas
  BCI self paced
  Sensory feedback : faster, more precise than vision
Definition
Past
Signals
Components
Present
Future

## Slide 22: Conclusion
BCIs were in the realm of science fiction !
Different brain signals, recording methods, signal-processing algorithms
Different devices
Improved life for disabled patients
Major new communication and control technology in the future

## Slide 23: Thank you !